## Inspection Report
POWER SYSTEM INSPECTION REPORT
SITE ID:
SITE NAME:
SITE ADDRESS:
DATE:
INSPECTION RESULT
The Site is declared ready for installation.
The Site is Rejected.
A re-visit shall be scheduled once all major deficiencies are clear.
Comments:
CONCURRED BY :
LBNI Representative
Name
Signature
Date
Motorola Representative
Name
Signature
Date
Contactor Representative
Name
Signature
Date
|  | Document No. | Doc. Rev | Page
|  | BD-H&NM-AC-SF-PSICIREP | 0 | 1 of 3

## Checklist
POWER SYSTEM INSPECTION REPORT
SITE ID
SITE NAME
|  | SITE TYPE |  | q | Roof Top
|  |  |  | q | Greenfields
|  |  |  | q | IBS
No. | Punch Description | OK | NOK | N/A | Criteria
INSTALLATION
1 | Fuse, Circuit Breakers and Cables | q | q | q | Check if all items are properly installed
2 | Busbar Connections | q | q | q | Check if all connections are well tightened
3 | Batteries | q | q | q | Check connections and terminations if properly fixed
4 | Monitoring Module and Rectifiers | q | q | q | Check if these items are properly intalled
5 | Rack | q | q | q | Check if rack is properly bolt down and fixed, and without dents
comments:
START UP PREPARATIONS
1 | Switch off all MCBs and fuses | q | q | q
2 | Measure AC inout voltage | q | q | q | Vac =
3 | Measure battery voltage (2.0V - 2.1V) | q | q | q | B1 = _____ B2 = _____ B3 = _____ B4 = _____ B5 = _____ B6 = _____
B7 = _____ B8 = _____ B9 = _____ B10 = _____ B11 = _____ B12 = _____
B13= _____ B14 =_____ B15 = _____ B16 = _____ B17 = _____ B18 = _____
B19= _____ B20 =_____ B21 = _____ B22 = _____ B23 = _____ B24 = _____
4 | Distibution Busbar | q | q | q | Verify if there is no short circuit between positive and negative busbar
comments:
START UP
1 | AC MCB and Rectifier | q | q | q | Switch on AC MCB and 1 rectifier, verify DC voltage and if rectifier is running (green LED)
2 | DC Voltage (~53.5V) | q | q | q | Compare DC voltage from monitoring module with system voltage using voltmeter
displayed value should be less than 0.3 V
3 | Test all rectifiers | q | q | q | Switch on 1 by 1 all the rectifiers that are installed, verify if these are running (green LED)
comments:
SETTINGS
1 | System Model | q | q | q | Verify system model
2 | Battery String | q | q | q | Value must be equal to number of battery string connected
3 | Battery Capacity | q | q | q | Total capacity of all battery connected to the system
4 | Temperature Coefficient | q | q | q | Verify temperature coeffecient according to the battery requirement
5 | Charging Current Limit | q | q | q | Value =
6 | Floating Charge Voltage | q | q | q | Value =
|  | q | q | q
comments:
[6 empty] | Document No. | Doc. Rev | Page
[6 empty] | BD-H&NM-AC-SF-PSICIREP | 0 | 2 of 3

## Deficiency List
POWER SYSTEM INSPECTION REPORT
SITE ID:
SITE NAME:
No. | Punch Description |  |  | Comments |  | clear
1 | [5 empty] | q
2 | [5 empty] | q
3 | [5 empty] | q
4 | [5 empty] | q
5 | [5 empty] | q
6 | [5 empty] | q
7 | [5 empty] | q
8 | [5 empty] | q
8 | [5 empty] | q
9 | [5 empty] | q
10 | [5 empty] | q
|  |  |  | Document No. | Doc. Rev | Page
|  |  |  | BD-H&NM-AC-SF-PSICIREP | 0 | 3 of 3